## Summary Table
Table 1. Summary statistics for trace element determination, USM. Concentrations in nmol/kg
| Ga | Ba | Cd | V | Ni | Cu | Mn
Cast overlap comparison (n=12) (Note 1)
Average concentration | 25.9468 | 44.2016 | 0.2418 | 29.1472 | 3.8156 | 1.6296 | 0.5548
Average absolute difference | 0.79449 | 0.66587 | 0.0090129 | 0.60505 | 0.073509 | 0.067093 | 0.054439
Spike Recovery (Note 2)
Percent recovery | 99.87% | 101.6% | 104.6% | 96.78% | 98.66% | 103.3% | 101.6%
Std. dev. | 7.053% | 1.4% | 4.302% | 3.354% | 1.67% | 4.955% | 4.332%
Replicates | n=13 | n=3 | n=12 | n=12 | n=12 | n=12 | n=12
GEOTRACES Reference Waters (Notes 3-6)
Replicates | n=12 | n=12 | n=9 | n=9 | n=9 | n=9 | n=9
Sample GS
Concentration | 42.5154 | 44.3154 | 0.010757 | 34.2609 | 2.2001 | 0.87904 | 1.5014
Std. deviation | 1.5921 | 0.78297 | 0.0036464 | 0.74802 | 0.047602 | 0.041435 | 0.091817
Consensus conc. (Std. Dev.) | 42.5 (1.7) | 43.0 (1.1) | 0.0021 (0.0006) | 34.5 (0.5) | 2.08 (0.06) | 0.84 (0.06) | 1.50 (0.11)
43.7 (1.0)
Sample GD
Concentration | 32.7586 | 54.0902 | 0.27804 | 32.4667 | 4.1194 | 1.5916 | 0.24429
Std. deviation | 1.4471 | 0.91406 | 0.0060246 | 0.67375 | 0.065206 | 0.055942 | 0.01688
Consensus conc. (Std. Dev.) | 32.7 (1.4) | 52.7 (0.5) | 0.271 (0.006) | 32.9 (0.5) | 4.00 (0.10) | 1.62 (0.07) | 0.21 (0.03)
54.3 (1.5)
In-House Reference Waters
Replicates | n=23 | n=6 | n=12 | n=12 | n=12 | n=12 | n=12
"NAZT"
Concentration | 21.2113 | 42.9009 | 0.8638 | 34.6472 | 8.978 | 3.45 | 0.17857
Std. deviation | 2.4223 | 0.57897 | 0.02016 | 0.74782 | 0.089422 | 0.17924 | 0.016727
"NAZT-S"
Concentration | 49.1297 | 84.7898 | 1.1707 | 68.6481 | 13.8564 | 5.5835 | 1.1637
Std. deviation | 3.2986 | 0.99246 | 0.024249 | 1.7463 | 0.10089 | 0.1734 | 0.038516
Notes
1. Cast overlap shows comparison of samples collected at approx. the same depth on different casts at the same station; depth was typically ~500 m.
2. Spike recovery shows percentage recovery based on the difference between a metal-spiked and unspiked seawater sample.
3. Consensus values for GS and GD for Cd, Cu, Mn, and Ni taken from http://www.geotraces.org/sic/intercalibrate-a-lab/standards-and-reference-materials
4. Consensus values for Ga from Ho et al., 2019; doi: 10.1016/j.dsr.2019.04.009.
5. Consensus values for V from Ho et al., 2018; doi: 10.1016 /j.marchem.2017.12.003.
6. Consensus values for Ba from Shiller, analyses of Ba from GEOTRACES GA03 (http://lod.bco-dmo.org/id/dataset/3827) and GP16 (http://lod.bco-dmo.org/id/dataset/648753).